## Daily_Cal
Seconds from last command | Command | Absolute seconds: Start + | Notes
0 | move SAM fltrwhl to aspect (pos 2) | S (start)
70 | move SAM fltrwhl to dark (pos 1) | 70
10 | move MEGS A fltrwhl to pri_three (pos 5) | 80
70 | move MEGS A fltrwhl to dark (pos 1) | 150 | 70 seconds of dark
70 | turn on MEGS A led with level 8, lamp blue | 220 | 3 minutes for LED at higher level (MEGS A violet LED does not work)
180 | turn off MEGS A led from blue | 400 | 70 seconds of dark
70 | move MEGS A fltrwhl to second_order (pos 2) | 470
70 | move MEGS A fltrwhl to pri_backup (pos 3) | 540
10 | move SAM fltrwhl to aspect_two (pos 5) | 550
70 | move SAM fltrwhl to pri_backup (pos 4) | 620
70 | move MEGS A fltrwhl to primary (pos 4) | 690 | MEGS A back in normal science
10 | move SAM fltrwhl to primary (pos 3) | 700 | SAM back in normal science
70 | move MEGS B fltrwhl to sl_fs (pos 4) | 770
70 | move MEGS B fltrwhl to dark (pos 1) | 840 | 70 seconds of dark
70 | turn on MEGS B led with level 6, lamp blue | 910 | 3 minutes for LED at higher level
1 | enable MEGS P cal_mode | 911
70 | disable MEGS P cal_mode | 981 | 70 seconds of cal
109 | turn off MEGS B led from blue | 1090 | 70 seconds of dark
70 | turn on MEGS B led with level 6, lamp violet | 1160 | 3 minutes for LED at higher level
180 | turn off MEGS B led from violet | 1340 | 70 seconds of dark
70 | move MEGS B fltrwhl to second_order (pos 2) | 1410
70 | move MEGS B fltrwhl to primary (pos 3) | 1480 | MEGS B back in normal science
70 | move ESP fltrwhl to pri_backup (pos 4) | 1550 | ***BASED ON FILTER CHARACTERIZAION, USC WILL TELL ME WHICH IS PRIME, SECONDARY, TERTIARY. DO NOT USE TERTIARY IN DAILY CAL.
70 | move ESP fltrwhl to sl_fs (pos 5) | 1620
70 | move ESP fltrwhl to dark (pos 1) | 1690 | 70 seconds of dark
70 | enable ESP cal_mode | 1760
70 | disable ESP cal_mode | 1830 | 70 seconds of dark
70 | move ESP fltrwhl to pri_three (pos 2) |  | ***BASED ON FILTER CHARACTERIZAION, USC WILL TELL ME WHICH IS PRIME, SECONDARY, TERTIARY. DO NOT USE TERTIARY IN DAILY CAL.
70 | move ESP fltrwhl to primary (pos 3) | 1900 | ESP back in normal science ***BASED ON FILTER CHARACTERIZAION, USC WILL TELL ME WHICH IS PRIME, SECONDARY, TERTIARY. DO NOT USE TERTIARY IN DAILY CAL.

## Long_Cal
Seconds from last command | Command | Absolute seconds | Notes
0 |  | S (start) | MEGS B pos 5 (not used during daily cal)
ESP prime 3 (not used during daily cal)
longer cal mode (15 min or more to stablilze)
LEDs at two levels with longer duration (MEGS A LED level 4 & 8; MEGS B LED level 3 & 6)
longer dark

## EVE_FOVMap
Seconds from last command | Command | Absolute seconds | Notes
0 | enable rts from 4 | S (start) | enable the default science RTS
2 | activate rts from 4 | S+2 | start the default science RTS

## EVE_FlatField
Seconds from last command | Command | Absolute seconds | Notes
0 |  | S (start) | Originally designed for use during eclipse. No use defined at this point in time.

## EVE_Eclipse
Seconds from last command | Command | Absolute seconds | Notes
0 | move SAM fltrwhl to aspect (pos 2) | S (start)

## EVE_Decontamination
Seconds from last command | Command | Absolute seconds | Notes
0 | enable megs dec_htr from primary | S (start) | Manually need to disable decontamination heater relay

## EVE_Dark
Seconds from last command | Command | Absolute seconds | Notes
0 | move megs_a fltrwhl to dark | S (start) | Not in use at this time
15 | move megs_b fltrwhl to dark | S+15
15 | move sam fltrwhl to dark | S+30
15 | move esp fltrwhl to dark | S+45

## EVE_Cruciform
Seconds from last command | Command | Absolute seconds | Notes
0 | enable rts from 4 | S (start) | enable the default science RTS
2 | activate rts from 4 | S+2 | start the default science RTS